HIGH-SPEED TURBO DOOR, type “EFA-STT-CR®”

Manufacture, delivery and installation of

High-speed turbo door, type “EFA-STT® CR” with electro-mechanical high-performance drive unit for permanent industrial use, preferably in clean rooms up to ISO class 8. With air pressure differences of up to 30 Pa there is an air loss of up to 50³/hr (depending on size and installation side).

The components of the door system, which are especially hermetically sealed towards one another, mainly consist of:

Self-supporting, lateral steel frames; steel parts generally galvanised; spiral-shaped door leaf guidance and complete cover (can be folded down for inspection purposes). The load is transmitted on both sides: For achieving this, a synchronised shaft will be installed. For the exact, smooth and low-noise guidance of the hinge straps (with special labyrinth packing), ball-bearing precision rolling units have to be used. A sufficiently dimensioned tension spring mechanism, ensuring the weight balancing of the door leaf according to the standard DIN EN 12604 and a manual opening of the door (e.g. in the case of a power failure) is installed in the door frames.

The door leaf consists of a frame made of anodised aluminium as well as of a middle area which is made of transparent, single-walled acrylic glass. The visible surface of the door leaf must be at least 70%, and optical clarity must be ensured permanently.

This spiral body is designed to guide the laths of the door leaf completely without contact and thus without wear and with best possible noise reduction.

The door is driven by a geared motor which has to be developed as high-frequency motor. The positions of the door are permanently detected by means of an absolute encoder.

Accident protection:

The scope of supply includes a photo cell fitted into the door frame as well as a self-monitoring safety contact bar according to DIN EN12453. Its connection cable must be guided in a protective energy chain within the door frame. An EMERGENCY STOP shock switch is attached to the frame as standard.

OPENING SPEED:				up to approx. 2.5 m/s

Max. DOOR LEAF SPEED:		up to approx. 3.0 m/s

(depending on door size)

CLOSING SPEED:				up to approx. 1.0 m/s

The MICROPROCESSOR CONTROL is installed together with the integrated frequency converter in a separate plastic switch cabinet, protection type IP 65.

On-site connection to 230 V respectively 400V / 50-60 Hz. Fuse 16 A

Regulations pursuant to DIN EN 13241-1 are complied with;

Resistance to wind load pursuant to DIN EN 12424 up to class 4

(values depend on the door size and the equipment)

for clear opening dimensions (max. W x H = 4,000 x 5,000 mm)

Width = ............... mm  x  Height = ............... mm

Manufacturer:

EFAFLEX Tor- und Sicherheitssysteme GmbH & Co. KG

www.efaflex.com