OPTIONS for high-speed turbo door, type “EFA-STT®”

Surface

Powder coating of all galvanised steel parts in a colour according to RAL __________

(pearl, luminous and metallic colours not possible)

Powder coating of the aluminium posts in a colour according to RAL _______

If steel parts as well as aluminium parts be coated in the same RAL colour, minor deviations in colour may occur which cannot be fully avoided due to the different surface structures. The supplier, however, will make the best possible efforts to keep deviations in colour as small as possible through influencing the degree of gloss.

stainless steel version (V2A) of all visible steel parts, visible surface polished, coarseness 220,

incl. switch board made of V2A, incl. guide rollers with V2A bearings, e.g. for wet operations

Door leaf

Surcharge for door leaf filling of single-walled, non-transparent plastic (colour: aluminium-grey)

Option:

Surcharge for sight lath made of impact resistant polycarbonate with scratch-resistant coating

Fixed side element:

Surcharge for fixed lateral element consisting of:

Integrated pedestrian door, DIN (to the left and to the right of the door) with lock and set of door handles (on-site closing cylinder)

clear passage max. B = 1,500 mm, H = 2,500 mm

Above-fixed cover element incl. required frame structure, similar to door leaf with a total size of ca. B = 	mm, H = 	mm

OPTIONS:	-	Panic lock for pedestrian door

-	Overhead door closer

-	Closing cylinder with 3 keys

Crash version:

Version of the door with "ACS-DS" (Active Crash System) by interlinked hinge changes which are detachably connected up to a height of 900 mm. Power transmission by direct synchronous drive and two linearly moved pistons. Crash recognition by inductive proximity switches integrated on both sides of the bottom section.

Restarting of the door optionally by:

Fully automatic retraction (standard)

Manual retraction by means of the membrane keypad or key switch (option)

IF REQUIRED:

Automatic interim stop at a height of H = ___________ mm

Version with space-saving low lintel guidance